End-to-End AI Medical Imaging → PACS Process

🧠 Big Picture (One-Line)

Medical Image → AI Analysis → Structured Output → PACS Integration

Your system acts as a clinical decision-support AI engine, not a diagnostic system.

STEP 1️⃣ Image Comes from Hospital / User

What enters the system

- Modalities

  - X-Ray

  - CT

  - MRI

- Formats

  - DICOM (main hospital format)

  - JPEG / PNG / TIFF (for X-ray uploads)

Where it comes from

- PACS export

- Radiology workstation

- Doctor upload

- Research dataset

At this stage, the image is raw and untouched.

STEP 2️⃣ Modality Detection & Routing

The system identifies:

- Is it X-Ray, CT, or MRI?

- Is it DICOM or image file?

Why this matters

Each modality:

- Uses different physics

- Needs different preprocessing

- Uses different AI models

So the system routes the image to the correct pipeline.

STEP 3️⃣ Image Loading & Standardization

If X-Ray (JPEG/PNG)

- Converted to grayscale

- Normalized

- Resized to model input size

If CT / MRI (DICOM)

- Pixel data extracted

- Intensity normalized

- Converted to 3D volume (slices stacked)

At the end of this step:

All inputs look numerically consistent to AI models.

STEP 4️⃣ Preprocessing (Model-Friendly)

This step:

- Removes noise

- Normalizes intensity ranges

- Ensures consistent resolution

Important rule

🚫 No enhancement that changes medical meaning
✔ Only mathematical normalization

This keeps the system clinically safe.

STEP 5️⃣ AI Analysis (Analysis-Only)

Different AI models run in parallel, depending on modality.

X-Ray

- Abnormality detection

- Pattern confidence

- Heatmap generation

CT

- Lung lesion detection

- Organ segmentation

- Volume & size measurement

MRI

- Soft-tissue lesion segmentation

- Tumor volume calculation

⚠️ No diagnosis is made
⚠️ No recommendation is generated

Only measurable, observable facts.

STEP 6️⃣ Raw AI Outputs (Internal)

At this stage, AI produces things like:

- Masks (binary images)

- Heatmaps

- Numeric values

- Confidence scores

These are not yet hospital-usable.

STEP 7️⃣ DICOM Metadata Extraction

From the DICOM file, the system extracts:

- Study UID

- Series UID

- Instance UID

- Modality

- Body part

Why this is critical

This is how PACS knows:

“These results belong to THIS exact scan”

Without this, hospitals will reject the AI output.

STEP 8️⃣ PACS-Ready JSON Creation

All results are wrapped into a PACS-ready JSON that includes:

- Study & patient linkage

- Structured analysis results

- Confidence values

- AI system metadata

- Compliance declarations

- Audit timestamps

What it avoids

❌ Diagnosis
❌ Treatment
❌ Recommendations

This makes it regulation-friendly.

STEP 9️⃣ Output Storage & Optional Conversion

At this point, the output can:

- Be stored in PACS as metadata

- Be attached to the study

- Be converted to DICOM SR (optional)

- Be displayed as overlays in PACS viewers

Hospitals usually start with JSON → later move to DICOM SR.

STEP 🔟 Radiologist / Clinician View

Inside PACS, the radiologist sees:

- Original scan (unchanged)

- AI heatmaps (toggle on/off)

- Measurements & volumes

- Confidence indicators

The doctor stays in full control.